## Slide 1: Alarm Sound Tutorial

## Slide 2: Instructions
Thank you for choosing to participate in this study! Please remember that your participation is optional, and that you may discontinue your participation at any time with no consequence to you.
You will be taking care of a few simulated patients in the intensive care unit (ICU).
When you hear an alarm sound, please go to the monitor which is sounding and tap on the bar at the top (select “event detected”)

## Slide 3: Instructions
Once you tap on the bar, the following drop down menu will appear:
Please select the reason that the alarm is sounding (i.e., if the heart rate is low, and the corresponding alarm is sounding, you would select “cardiovascular”).

## Slide 4: Alarm Sounds
The following slides will highlight which sounds correspond with which abnormal values.
Possible alarms include: Oxygenation, Ventilation, Cardiovascular, Perfusion, Temperature, Drug administration, Power failure, and General alarm
Please review each slide and listen to each alarm sound.
We will also list “parameters” for some of the alarms. If the patient has a vital sign or value outside of the set parameters listed, an alarm will sound.

## Slide 5: Alarm Sounds: Cardiovascular
If there is an abnormal heart rate (HR) or blood pressure (BP), this alarm will sound:
Parameters for your ICU patients are set to:
  HR 60-100 bpm
  Systolic BP 90-140 mmHg
  Diastolic BP 40-90 mmHg
 Click here to listen

## Slide 6: Alarm Sounds: Oxygen
If there is an abnormal oxygen saturation, this alarm will sound:
This parameter for your ICU patients is set to alarm if the oxygen saturation drops below 90%.
 Click here to listen

## Slide 7: Alarm Sounds: Temperature
If there is an abnormal temperature, this alarm will sound:
This alarm will sound for your ICU patients if the temperature is below 35.5 degrees Celsius or above 37.5 degrees Celsius.
 Click here to listen

## Slide 8: Alarm Sounds: Ventilation
If there are abnormal ventilation parameters, this alarm will sound:
This alarm will sound for your ICU patients if the end tidal carbon dioxide value is below 25 mmHg or above 60 mmHg.
 Click here to listen

## Slide 9: Alarm Sounds: Drug Delivery
  If there is a drug administration issue, this alarm will sound:
  For example: an alarm will sound if there is an empty bag of medication or air in the tubing inside the medication administration pump
 Click here to listen

## Slide 10: Alarm Sounds: Power Failure
If there is a power failure of a patient connected device, this alarm will sound:
 Click here to listen

## Slide 11: Alarm Sounds: Perfusion
If a patient has an abnormality related to perfusion, this alarm will sound:
  For example: a patient on extracorporeal membrane oxygenation (ECMO), cardiopulmonary bypass or dialysis machine with low flows
 Click here to listen

## Slide 12: General Alarm
If any issue occurs that does not fall into one of the other categories, then this alarm will sound:
 Click here to listen

## Slide 13: Patients
There are the same two patients in the ICU: Joe Smith and Sally Reeves.

## Slide 14: Joe Smith
Mr. Smith is a 30 year old otherwise healthy male who had a MVA against a pole 7 days ago. He was found outside of his car with burns along his posterior head, upper extremities, shoulders, and back. He was reported to have had agonal breathing and was intubated on scene. He has 19.5% TBSA burns.
He developed severe ARDS during his hospitalization and was placed on ECMO on hospital day 4; but ECMO was discontinued today (hospital day 7).
He developed acute kidney injury during his hospitalization and was started on hemodialysis today. He is currently being dialyzed.

## Slide 15: Sally Reeves
Ms. Reeves is a 46 year old woman who was admitted 6 days ago after being found down in the street for an unknown amount of time; she was intubated at the scene (she has since been extubated and is doing well on nasal cannula). On arrival, she was found to have tense right deltoid and right lower extremity compartments. She was taken emergently to the OR for fasciotomy. She quickly developed rhabdomyolysis and acute renal failure. She’s being followed by the nephrology team, and continues to receive dialysis.
She is still receiving Vancomycin for empiric treatment of possible wound infection; she has been afebrile for the past 24 hours.

## Slide 16: Thank you!
You will be taken into the simulation room now.
You are not being evaluated for your clinical performance or knowledge. No one will have access to results outside of the research team. Data will be de-identified and not linked to your name.
Once again, thank you for your participation in this study!