Supplemental Table 1. Non-U-HPLC AED TDM Methods

| Citation | GBP (μg/mL) | LTG (μg/mL) | LEV (μg/mL) | MHD (μg/mL) | OXC (μg/mL) | ZNS (μg/mL) | Matrix | Volume of sample (μL) | Run time (min) | Separation | Detector | Internal Standard |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  | NA | urine | 10–50 mL | NA | none | MS/MS | ethyl acetate |
| 2 | 0.05–10 |  |  |  |  |  | plasma | 40 | 4 | HPLC | MS/MS | acetaminophen |
| 3 |  |  |  | 0.1–4.0 | 1.0–40.0 |  | plasma | 200 | 9 | HPLC | UV | 10,11-dihydro-10,11-epoxycarbamazepine |
| 4 |  |  |  | 0.1–50 | 0.1–50 |  | plasma | 10 |  | HPLC | MS | trimipramine-D3 |
| 5 | 0.05–10 |  |  |  |  |  | serum | <40 | 4 | HPLC | MS/MS | (S)-(+)--amino-cyclohexane-propionic acid hydrate |
| 6 |  |  |  | 0.3–20 | 0.4–20 |  | plasma | 300 | 50 | HPLC | MS | 2-methyl carbamazepine |
| 7 | 0.04–10 |  |  |  |  |  | plasma | 5 | 2 | HPLC | MS/MS | 1,1-cyclohexane diacetic acid monoamide |
| 8 |  | 4.3–64 umol/L |  |  |  |  | plasma | 200 | 17 | HPLC | MS/MS | 3,5-diamino-6-(2-methoxyphenyl)-1,2,4-triazine, morphine-3-glucuronide-D3 |
| 9 |  |  |  |  |  | 2.5–80.0 | serum | 150 | 18 | HPLC | UV | chlorzoxazone |
| 10 |  |  | 0.5–50 |  |  |  | plasma | 200 | 2 | HPLC | MS/MS | clonazepam |
| 11 | 0.05–10 |  |  |  |  |  | plasma | 5 | 3.5 | hydrophilic interaction liquid chromatography/tandem mass spectrometry (HILIC) | MS/MS | metformin |
| 12 |  |  |  |  | 0.02–5.25 |  | plasma | 100 | 3.5 | HPLC | MS/MS | carbamazepine-D10 |
| 13 |  |  |  | 0.78–50 | 0.078–5.0 |  | serum | 150 | 3 | HPLC | MS/MS | cyheptamide |
| 14 |  |  | 2.0–25 |  |  |  | plasma, serum, or saliva | 100 | 5 | HPLC | MS/MS | ritonavir |
| 15 |  | 0.3125–25 |  | 0.5–40 |  | 0.625–50 | plasma | 100 | 20 | HPLC | MS | CBZ-D10, LAM-13C2,15N, TPM-D12, PHT-D10 |
| 16 |  |  | 1.0–40 |  |  |  | plasma | 100 | 5 | HPLC | MS/MS | adenosine |
| 17 |  |  |  |  | 0.2–16 |  | plasma | 180 | 3 | HPLC | MS/MS | imipramine |
| 18 | 0.05–5 |  |  |  |  |  | plasma | 200 | 2.5 | HPLC | MS/MS | metformin |
| 19 | 0.3–10 |  |  |  |  |  | serum | 100 | 6.5 | HPLC | MS/MS | no internal standard |
| 20 | 0.04–10 |  |  |  |  |  | dried plasma spot | 1.98 | 5 | HPLC | MS/MS | 4-aminocyclohexane-carboxylic acid |
| 21 |  |  |  |  |  | 2.0–80.0 | plasma | 250 | 19 | HPLC | UV | citalopram |
| 22 |  | 1.0–40 |  | 1.0–40 |  |  | whole blood, live and postmortem | 100 | 35 | HPLC | MS/MS | 3-acetamidophenol (+ ions), 1-hydroxy-2- naphthoic acid (- ions) |
| 23 |  | 0.025–10.000 |  |  |  |  | plasma | 100 | 1.4 | HPLC | MS/MS | 3,5-diamino-6-phenyl-1,2,4-triazine |
| 24 |  | 0.1–20 |  |  |  |  | serum | 100 | 5 | HPLC | MS/MS | melatonin |
| 25 |  |  | 1.0–50 |  |  |  | plasma or serum | 50 | 10 | HPLC | MS/MS | ritonavir |
| 26 | 0.8–40 | 0.4–20 | 1.2–60 |  | 1.2–60 | 1.6–80 | plasma | 10 | 10 | HPLC | MS/MS | PHT-D10, VPA-D6 |
| 27 |  | 0.0001–1.5 |  |  |  |  | plasma | 100 | 2 | HPLC | MS/MS | flucanozole |
| 28 |  | NA |  |  |  |  | serum | 400 | 34 | HPLC | MS/MS | LTG-13C2,15N1 |
| 29 | 0.5–25 | 0.5–25 | 2–100 |  | 2–100 |  | plasma | 50 | NA | HPLC | MS/MS | piracetam, methylcarboxamide |
| 30 |  |  |  |  | 0.03–20 |  | serum | 30 | 10 | HPLC | MS/MS | dansyl-norvaline |
| 31 |  | 0.14–12.21 | 2.75–46.30 |  |  | 0.61–14.93 | serum | 250 | 8 | HPLC/HPTLC | MS/MS, densitometry | NA |
| 32 |  | 0.1–50 |  |  | 0.1–25 |  | plasma | 500 | 15 | HPLC | UV | ketoprofen |
| 33 | 0.04–10 |  |  |  |  |  | plasma | 40 | 5.5 | HPLC | MS/MS | 4-aminocyclohexanecarboxylic acid |
| 34 |  |  |  |  |  | 0.5–50 | plasma | 100 | 5 | HPLC | MS/MS | zonisamide-D4, 15N1 |
| 35 |  |  | 0.5–100 |  |  |  | plasma | 50 | 2 | HPLC | MS/MS | diphenhydramine |
| 36 | 0.5–50.0 | 1.0–50.0 | 5.0–300.0 | 0.5–50.0 | 0.1–10.0 | 1.0–50.0 | whole blood, plasma, serum, and postmortem blood | 100 | 17 | HPLC | MS/MS | gabapentin-D10, tolbutamide, 10,11 dihydrocarbamazepine |
| 37 | 0.375–30.0 |  |  |  |  |  | plasma | 500 | 22 | HPLC | Fluorescence — derivatized with 4-chloro-7-nitrobenzofurazan | none |
| 38 |  | 0.008–10.0 |  |  |  |  | plasma | 100 | 6.2 | Fast LC | MS/MS | lamotrigine-13C3,D3 |
| 39 |  | 2.4–96.0 | 2.4–96.0 | 2.4–96.0 |  | 2.4–96.0 | dried plasma spot | 150 | 28 | HPLC | UV | linezolid |
| 40 |  | 0.5–50.0 | 0.5–50 |  |  |  | whole blood | NA | 14.5 | GC | MS | levetiracetam-D6 |
| 41 |  | 0.02–20 | 0.15–60 | 0.4–60 | 0.005–10 |  | plasma | 10 | 6 | HPLC | MS/MS | diphenhydramine |
| 42 |  | 0.6–60 | 1–100 | 0.6–60 |  | 0.8–80 | serum, plasma | 25 | 4 | HPLC | MS/MS | clonazepam-D4 |
| 43 |  | 0.005–10.5 |  |  |  |  | plasma | 200 | 8 | HPLC | MS/MS | carbamazepine-D10 |

1	Lee MS, Yost RA. Rapid identification of drug metabolites with tandem mass spectrometry. Biomed Environ Mass Spectrom. 1988;15:193-204.

2	Ifa DR, Falci M, Moraes ME, et al. Gabapentin quantification in human plasma by high-performance liquid chromatography coupled to electrospray tandem mass spectrometry. Application to bioequivalence study. J Mass Spectrom. 2001;36:188-194.

3	Mandrioli R, Ghedini N, Albani F, et al. Liquid chromatographic determination of oxcarbazepine and its metabolites in plasma of epileptic patients after solid-phase extraction. J Chromatogr B Analyt Technol Biomed Life Sci. 2003;783:253-263.

4	Maurer HH, Kratzsch C, Weber AA, et al. Validated assay for quantification of oxcarbazepine and its active dihydro metabolite 10-hydroxycarbazepine in plasma by atmospheric pressure chemical ionization liquid chromatography/mass spectrometry. J Mass Spectrom. 2002;37:687-692.

5	Carlsson KC, Reubsaet JL Sample preparation and determination of gabapentin in venous and capillary blood using liquid chromatography-tandem mass spectrometry. J Pharm Biomed Anal. 2004;34:415-423.

6	Breton H, et al. Liquid chromatography-electrospray mass spectrometry determination of carbamazepine, oxcarbazepine and eight of their metabolites in human plasma. J Chromatogr B Analyt Technol Biomed Life Sci. 2005;828:80-90.

7	Ramakrishna NV, et al. Rapid quantification of gabapentin in human plasma by liquid chromatography/tandem mass spectrometry. J Pharm Biomed Anal. 2006;40:360-368.

8	Beck O, Ohman I, Nordgren HK. Determination of lamotrigine and its metabolites in human plasma by liquid chromatography-mass spectrometry. Ther Drug Monit. 2006;28:603-607.

9	Yoshida T, Imai K, Motohashi S, et al. Simultaneous determination of zonisamide, carbamazepine and carbamazepine-10,11-epoxide in infant serum by high-performance liquid chromatography. J Pharm Biomed Anal. 2006;41:1386-1390.

10	Jain DS, Subbaiah G, Sanyal M, et al. Determination of levetiracetam in human plasma by liquid chromatography/electrospray tandem mass spectrometry and its application to bioequivalence studies. Rapid Commun Mass Spectrom. 2006;20:2539-2547.

11	Ji HY, et al. Determination of gabapentin in human plasma using hydrophilic interaction liquid chromatography with tandem mass spectrometry. Rapid Commun Mass Spectrom. 2006;20:2127-2132.

12	de Sousa Maia MB, et al. Simultaneous quantitative analysis of oxcarbazepine and 10,11-dihydro-10-hydroxycarbamazepine in human plasma by liquid chromatography-electrospray tandem mass spectrometry. J Pharm Biomed Anal. 2007;45:304-311.

13	Paglia G, D’Apolito O, Garofalo D, et al. Development and validation of a LC/MS/MS method for simultaneous quantification of oxcarbazepine and its main metabolites in human serum. J Chromatogr B Analyt Technol Biomed Life Sci. 2007;860:153-159.

14	Guo T, Oswald LM, Mendu DR, et al. Determination of levetiracetam in human plasma/serum/saliva by liquid chromatography-electrospray tandem mass spectrometry. Clin Chim Acta. 2007;375:115-118.

15	Subramanian M, Birnbaum AK, Remmel RP. High-speed simultaneous determination of nine antiepileptic drugs using liquid chromatography-mass spectrometry. Ther Drug Monit. 2008;30:347-356.

16	Matar KM. Quantification of levetiracetam in human plasma by liquid chromatography-tandem mass spectrometry: application to therapeutic drug monitoring. J Pharm Biomed Anal. 2008;48:822-828.

17	Srinubabu G, Ratnam BV, Rao AA, et al. Development and validation of LC-MS/MS method for the quantification of oxcarbazepine in human plasma using an experimental design. Chem Pharm Bull (Tokyo). 2008;56:28-33.

18	Wattananat T, Akarawut W. Validated LC-MS-MS method for the determination of gabapentin in human plasma: application to a bioequivalence study. J Chromatogr Sci. 2009;47:868-871.

19	Oertel R, Arenz N, Pietsch J, et al. Simultaneous determination of three anticonvulsants using hydrophilic interaction LC-MS. J Sep Sci. 2009;32:238-243.

20	Kolocouri F, Dotsikas Y, Loukas YL. Dried plasma spots as an alternative sample collection technique for the quantitative LC-MS/MS determination of gabapentin. Anal Bioanal Chem. 2010;398:1339-1347.

21	Contin M, et al. Simultaneous HPLC-UV analysis of rufinamide, zonisamide, lamotrigine, oxcarbazepine monohydroxy derivative and felbamate in deproteinized plasma of patients with epilepsy. J Chromatogr B Analyt Technol Biomed Life Sci. 2010;878:461-465.

22	Sorensen LK. Determination of acidic and neutral therapeutic drugs in human blood by liquid chromatography-electrospray tandem mass spectrometry. Forensic Sci Int. 2011;206:119-126.

23	Shah HJ, Subbaiah G, Patel DM, et al. Rapid quantification of lamotrigine in human plasma by two LC systems connected with tandem MS. J Chromatogr Sci. 2010;48:375-381.

24	Lee W, et al. Determination of lamotrigine in human serum by high-performance liquid chromatography-tandem mass spectrometry. Neurol Sci. 2010;31:717-720.

25	Mendu DR, Soldin SJ. Simultaneous determination of levetiracetam and its acid metabolite (ucb L057) in serum/plasma by liquid chromatography tandem mass spectrometry. Clin Biochem. 2010;43:485-489.

26	Kim KB, et al. Simple and accurate quantitative analysis of ten antiepileptic drugs in human plasma by liquid chromatography/tandem mass spectrometry. J Pharm Biomed Anal. 2011;56:771-777.

27	Hotha KK, Kumar SS, Bharathi DV, et al. Rapid and sensitive LC-MS/MS method for quantification of lamotrigine in human plasma: application to a human pharmacokinetic study. Biomed Chromatogr. 2012;26:491-496.

28	Tai SS, Yeh CY, Phinney KW. Development and validation of a reference measurement procedure for certification of phenytoin, phenobarbital, lamotrigine, and topiramate in human serum using isotope-dilution liquid chromatography/tandem mass spectrometry. Anal Bioanal Chem. 2011;401:1915-1922.

29	Collins JA, Janis GC. Analysis of selected anticonvulsants by high performance liquid chromatography-tandem mass spectrometry. Methods Mol Biol. 2012;902:201-209.

30	Lionetto L, et al. High-performance liquid chromatography-tandem mass spectrometry method for simultaneous quantification of carbamazepine, oxcarbazepine, and their main metabolites in human serum. Ther Drug Monit. 2012;34:53-58.

31	Antonilli L, Brusadin V, Filipponi F, et al. Development and validation of an analytical method based on high performance thin layer chromatography for the simultaneous determination of lamotrigine, zonisamide and levetiracetam in human plasma. J Pharm Biomed Anal. 2011;56:763-770.

32	Serralheiro A, Alves G, Fortuna A, et al. First HPLC-UV method for rapid and simultaneous quantification of phenobarbital, primidone, phenytoin, carbamazepine, carbamazepine-10,11-epoxide, 10,11-trans-dihydroxy-10,11-dihydrocarbamazepine, lamotrigine, oxcarbazepine and licarbazepine in human plasma. J Chromatogr B Analyt Technol Biomed Life Sci. 2013;925:1-9.

33	Kostic N, et al. Stepwise optimization approach for improving LC-MS/MS analysis of zwitterionic antiepileptic drugs with implementation of experimental design. J Mass Spectrom. 2013;48:875-884.

34	Matar KM. A simple and accurate liquid chromatography-tandem mass spectrometry method for quantification of zonisamide in plasma and its application to a pharmacokinetic study. J Chromatogr B Analyt Technol Biomed Life Sci. 2014;961:103-109.

35	Yeap LL, Lo YL. Rapid and simultaneous quantification of levetiracetam and its carboxylic metabolite in human plasma by liquid chromatography tandem mass spectrometry. PLoS One. 2014;9:e111544.

36	Deeb S, et al. Simultaneous analysis of 22 antiepileptic drugs in postmortem blood, serum and plasma using LC-MS-MS with a focus on their role in forensic cases. J Anal Toxicol. 2014;38:485-494.

37	Martinc B, Roskar R, Grabnar I, et al. Simultaneous determination of gabapentin, pregabalin, vigabatrin, and topiramate in plasma by HPLC with fluorescence detection. J Chromatogr B Analyt Technol Biomed Life Sci. 2014;962:82-88.

38	Wong JM, Jones JW, Jiang W, et al. Quantification of lamotrigine in patient plasma using a fast liquid chromatography-tandem mass spectrometry method with backflush technology. Ther Drug Monit. 2015;37:188-197.

39	Baldelli S, et al. Development and validation of a HPLC-UV method for the quantification of antiepileptic drugs in dried plasma spots. Clin Chem Lab Med. 2015;53:435-444.

40	Nikolaou P, Papoutsis I, Dona A, et al. Development and validation of a GC/MS method for the simultaneous determination of levetiracetam and lamotrigine in whole blood. J Pharm Biomed Anal. 2015;102:25-32.

41	Yin L, et al. Simultaneous determination of ten antiepileptic drugs in human plasma by liquid chromatography and tandem mass spectrometry with positive/negative ion-switching electrospray ionization and its application in therapeutic drug monitoring. J Sep Sci. 2016;39:964-972.

42	Carlow DC, Shi H, Schofield RC. Simultaneous quantitation of lamotrigine, levetiracetam, 10-hydroxycarbazepine, topiramate, and zonisamide in serum using HPLC-MS/MS. Methods Mol Biol. 2016;1383:29-37.

43	Domingues DS, et al. Determination of drugs in plasma samples by high-performance liquid chromatography-tandem mass spectrometry for therapeutic drug monitoring of schizophrenic patients. J Anal Toxicol. 2016;40:28-36.