Supplementary digital contents

Documentation of a little studied designer benzodiazepine after a controlled single administration: II. Concentration profile of deschloroetizolam in saliva.

Alice Ameline1, MS, Nadia Arbouche1, MS, Jean-Sébastien Raul1, MD, PhD, Pascal Kintz1,2, PharmD, PhD

1Institut de Médecine Légale, 11 rue Humann, 67000 Strasbourg, France

2X-Petise Consulting, 84 route de Saverne, 67205 Oberhausbergen, France

Corresponding Author

Alice Ameline, Institut de médecine légale, 11 rue Humann, 67000 Strasbourg, France ;

fax number : +33368853362; telephone number : +33368853353; ameline.alice@gmail.com

Chemicals and reagents

Deschloroetizolam tablets were obtained from GR8 Research Chemicals-EU (Holland). Ammonium formate and formic acid were provided by Sigma-Aldrich (Saint-Quentin-Fallavier, France). LC-MS grade water and acetonitrile were purchased from Biosolve (Dieuze, France), while methanol HPLC grade and 30% hydrochloric acid were purchased from VWR Prolabo (Fontenay-sous-Bois, France). Diazepam-d5 was purchased from LGC Promochen (Molsheim, France) and diluted to appropriate concentration using methanol. NeoSalTM (Neogen) devices were kindly provided by Neogen.

Deschloroetizolam tablet analysis

In order to confirm the absence of other compounds, such as synthesis impurities, and to check the announced dosage of the deschloroetizolam half tablet (6 mg), liquid chromatography with high-resolution mass spectrometry detection (LC-HRMS) analysis was completed by nuclear magnetic resonance (NMR) analysis. Briefly, the NMR spectra were recorded on AVANCE 300 (Bruker Biospin, France) operating at 300 MHz equipped with a 5 mm quadruple nucleus probe (QNP) probe at 295 K. The 1H spectra were recorded with 64 scans, 32-K time-domain data points with 4800 Hz spectral width, an acquisition time of 3.42 s, a relaxation delay of 2 s, and a flip angle of 30°. The Free Induction Decays (FIDs) were transformed (0.3 Hz broadening) and the baseline was corrected. After thin manual grinding of the powder using a mortar, 7.5 mg of the tablet was dissolved in 600 µL of methanol-D4 and the ERETIC (Electronic REference To access In vivo Concentrations) method was used for the determination of absolute concentrations of deschloroetizolam. ERETIC consisted of a digitally generated Gaussian peak (on single point calibration calibrated using a reference sample 15 mg of caffeine in 600 µL de CDCl3 and a control point using 10 mg of the same substance in 600 µL de CDCl3) inserted into the spectrum of a sample by the software after processing the FID. With ERETIC, the value peak area integrals in the spectrum directly give the information about the concentration of protons sample purity [1].

Oral fluid extraction

All oral fluid samples were submitted to UPLC-MS/MS analysis on an Acquity class I ultra-high-performance liquid chromatography coupled to a Xevo TQD tandem mass spectrometer (UPLC-MS/MS) from Waters (Milford, MA, USA), using a screening method devoted to the identification and quantification of designer benzodiazepines, already applied in a similar context [2]. Deschloroetizolam was extracted from 500 µL of mixed oral fluid and buffer in the presence of 1 ng of diazepam-d5 used as internal standard, 500 µL saturated borate buffer pH 9.5, and 2.5 mL of a mixture of ether/dichloromethane/hexane/isoamyl alcohol (50:30:20:0.5). After 15 minutes of agitation at room temperature, centrifugation (3000 rpm for 15 minutes), and evaporation to dryness at 45°C, the residue was reconstituted in 50 µL of 5 mM ammonium formate buffer adjusted at pH 3.

UPLC-MS/MS analysis

Chromatography was achieved using Waters Acquity HSS C18 column (150 × 2.1 mm × 1.8 µm) maintained at 50°C in a thermostatically controlled oven. A gradient elution was performed using formate buffer adjusted to pH 3 (mobile phase A) and 0.1% formic acid in acetonitrile (mobile phase B). The flow rate was 0.4 mL/minute. The initial gradient was 87% phase A and the final gradient, at 15 minutes, was 5% phase A. An injection volume of 10 µL was used in all cases. A Xevo TQD triple quadrupole mass spectrometer was used for the detection of the molecule. Ionization was achieved using electrospray in the positive ionization mode (ES+). The following conditions were found to be optimal for the analysis of deschloroetizolam and the internal standard: capillary voltage at 1.5 kV; source block temperature at 149°C; desolvation gas nitrogen heated at 600°C and delivered at a flow rate of 1000 L/h. In order to establish appropriate multiple reaction monitoring conditions, the cone voltage was adjusted to maximize the intensity of the protonated molecular ion and collision induced dissociated of both species was performed. Cone voltage and collision energy were adjusted to optimize the signal for the two most abundant product ions of deschloroetizolam: m/z 309.0 > 255.0 (56 V and 26 eV) and 309.0 > 280.0 (56 V and 24 eV) and two most abundant product ions of internal standard m/z 291.9 > 197.8 (56 V and 32 eV) and 291.9 > 155.8 (56 V and 28 eV). MassLynx 4.1 software was used for quantification.

Because of the nature of the study, a simple analytical validation was achieved. Linearity was observed for deschloroetizolam concentrations ranging from 1 to 6000 pg/mL (9 points at 0, 10, 50, 100, 200, 500, 1000, 2000 and 6000 pg/mL), with a correlation coefficient of r² = 0.997 (y=0.0043x - 0.0095). QC samples (100 and 1000 pg/mL), analyzed in duplicate in eight independent experimental assays, were used for determination of coefficient of variation for precision and accuracy. These CVs were lower than 20 % (17% and 16%, respectively). The limit of detection and the lower limit of quantification were 1 pg/mL. Under the used chromatographic conditions, there was no interference with the analyses by chemicals or any extractable endogenous materials present in oral fluid. The matrix effect (<20%) was investigated with spiked deschloroetizolam at 1000 pg/mL in 15 blank mixed oral fluid and buffer samples.

Reference

1. Akoka S, Barantin L, Trierweiler M. Concentration measurement by proton NMR using the ERETIC method. Anal Chem. 1999;71:2554-2557.

2. Ameline A, Richeval C, Gaulier JM, et al. Characterization of flunitrazolam, a new designer benzodiazepine, in oral fluid after a controlled single administration. J Anal Toxicol. 2018;doi:10.1093/jat/bky012